# DODGE COUNTY CORPORATION CONSEL

# Purchasing Division

127 East Oak Street, Juneau, WI  53039

(920)386-4224

Email: tsteinbach@co.dodge.wi.us

_________________________________________________________________________

Request for Quotes (RFQ)

22KW (100 Amp LP) Generator – Reeseville Water Tower

Emergency Management, Dodge County, WI

July 31, 2024

Quote #2801 - 2024

# Request Summary

Dodge County is requesting quotes (RFQ) to furnish and install (1) 22KW (100-amp LP) generator with 200-amp service rated transfer switch and furnish and install remote monitoring for generator.  The generator will be installed and delivered to the Reeseville Water Tower located at 300 Water Tower Ln. in the Village of Reeseville, WI.

This project is being supported, in whole or in part, by federal award number RT84E76DK1Z1 awarded to the County of Dodge by the U.S. Department of the Treasury.

# Specifications

The request for quotation (RFQ) is for the purchase and installation of one (1) 22KW (100-amp LP) Generator.

Specifications:

- Furnish and install one (1) 22KW (100-amp LP) generator with 200-amp service rated transfer switch.

- Furnish and install remote monitoring for generator including with integration into current site monitoring system Mobile Link software.

- Price should include:

  - Battery

  - 3-piece cold weather kit

  - 3” precast concrete pad

  - Cell powered mobile link.

- Note – this unit is required to be installed outside, however the wiring and transfer switch will be placed inside the base of the water tower.

- Provide support to the counties LP provider to ensure the unit is connected to the LP source.

# Site Review

Please contact Joseph Meagher at jmeagher@co.dodge.wi.us to schedule a site review prior to submitting a quote for this project.

# Quote Submission

Submission Deadline – August 7, 2024

Return Quote: The quote may be submitted electronically.

Quotes should be marked: “Generator – Reeseville Tower.”

Mailing Address: Dodge County, Purchasing Agent, Trista Steinbach, 127 E Oak St., Juneau, WI 53039

E-mail:  tsteinbach@co.dodge.wi.us

RFQ Questions: Trista Steinbach:  tsteinbach@co.dodge.wi.us

# Quote Form

Please submit a quotation/specification detail to purchase and install one (1) 22KW (100-amp LP) generator with 200-amp service rated transfer switch and furnish and install remote monitoring for generator including integration into the current site monitoring system Mobile Link Software for the Reeseville Water Tower.  The quoted price shall be valid for 60 days from the quotation due date.

# Primary Contact Information

Company Name: ________________________________________

Address: ____________________________________________

City: ________________________________________________

State: _______________________________________________

Zip Code: ____________________________________________

Phone Number: _______________________________________

E-mail: ______________________________________________

Name: ______________________________________________

Signature: ___________________________________________

Date: _______________________________________________